## Sheet1
MY ID | NEW ID | OLD ID | SCS location | Reciever | Notes/Param Differences | Other Notes | Downloaded Data | Visualized Data | Grouping | Max Pyr SNR | Max Lac SNR | Max Bic SNR
1_1 | 01-15 | vol1_1 | /data/vig4/C13Volunteers/01-15 (1st shot) | 13C-32CH-Head | res = 15/15/21? | same as data in: /data/bioe3/C13_volunteer/v0001/t00001 | x, 2023 vs normal version | x, 2023 version | G1
1_3 | 01-43 |  | /data/vig4/C13Volunteers/01-43/C13/exp_1 | RAPID 24CH | multi res, res=7.5/7.5/15 | 0 sec acq delay | x | x | G2: 1 | 151.85 | 39.45 | 16.8
1_4 | 01-43 |  | /data/vig4/C13Volunteers/01-43/C13/exp_2 | RAPID 24CH | multi res, res=7.5/7.5/15 | 0 sec acq delay | x | x | G2: 2 | 146.94 | 34.19 | 19.3
1_5 | 01-52 |  | /data/vig4/C13_volunteers/01-52 | ? | multi res, res=?
2_1 | 01-06 | vol2_1 | /data/vig4/C13Volunteers/01-06 | 13C-32CH-Head |  | same as data in: /data/bioe3/C13_volunteer/v0001/t00002 | x, 2023 vs normal version | x, 2023 version | G1
2_3 | 01-13 | vol2_2 | /data/bioe3/C13_volunteer/v0001/t00004 | 13C-32CH-Head |  |  | x | x | G1
2_4 | 01-13 | vol2_3 | /data/bioe3/C13_volunteer/v0001/t00005 | RAPID 24CH |  |  | x | x | G1
2_5 | 01_14 |  | /data/vig4/C13Volunteers/01-14 (2nd shot) | 13C-32CH-Head | multi res, res=7.5/7.5/15, extra met |  | x, pyrsos_ims | x, needs crop(64x64), pyrsos_ims
2_6 | 01-20 | vol2_4 | /data/bioe3/C13_volunteer/v0001/t00006 | RAPID 24CH |  |  | x | x | G1
2_7 | 01_21 |  | /data/vig4/C13Volunteers/01-21 (1st) | 13C-32CH-Head | multi res, res=7.5/7.5/20 |  | x | x, needs crop(64x64), mag images
2_8 | 01_21 |  | /data/vig4/C13Volunteers/01-21 (2nd) | 13C-32CH-Head | multi res, res=5/5/20 |  | x | x, prewhiten, might need to crop (64x64) |  | 200.1 | 46.41 | 33.6
2_9 | 01-46 |  | /data/vig4/C13Volunteers/01-46 (2nd) | RAPID 24CH | multires, not sure same EPI seq, res=6.32/6.32/21 |  | x | x |  | 301.43 | 40.19 | 20.91
2_10 | 01-47 |  | /data/vig4/C13Volunteers/01-47 | RAPID 24CH | multi res, res=7.5/7.5/15 | 0 sec acq delay | x | x | G2: 3 | 205.72 | 47.37 | 15.06
2_11 | 01-55 |  | /data/vig4/C13Volunteers/01-55-DV20230411 | RAPID 24CH | multi res, res=6/12/12, no ramp sample | 0 sec acq delay | x | x | G2: 4 | 165.21 | 34.82 | 12.02
2_12 | 01-55 |  | /data/vig4/C13Volunteers/01-55-DV20230411 | RAPID 24CH | multi res, res=6/12/12, ramp sample | 0 sec acq delay | I think, need to confirm, optimal weights recon?
2_13 | 01-56 |  | /data/vig4/C13Volunteers/01-56-DV20230914 | RAPID 24CH | multi res, res=6/12/18 | 0 sec acq delay | x | x | G2: 5 | 232.69 | 39.27 | 16.87
2_14 | 01-56 |  | /data/vig4/C13Volunteers/01-56-DV20230914 | RAPID 24CH | multi res, res=7/14/14 | 0 sec acq delay | x | x | G2: 6 | 263.72 | 37.09 | 15.62
2_15 | 01-55 |  | /data/vig4/C13Volunteers/01-55-DV20231024 | RAPID 24CH | multi res, res=7/14/14 | 0 sec acq delay | x | x | G2: 7 | 225.31 | 50.21 | 16.71
2_16 | 01-55 |  | /data/vig4/C13Volunteers/01-55-DV20231024 | RAPID 24CH | multi res, res=7/14/14 | 0 sec acq delay | x | x | G2: 8 | 317.37 | 55.63 | 19.61
3_1 | 01-24 |  | /data/vig4/C13Volunteers/01-24 | RAPID 24CH |  |  | I think, need to confirm, if not try epi_test2 | x, dev version | G1
3_2 | 01-26 | vol3_2 | /data/bioe3/C13_volunteer/b4608/birdcage_data/injection_1 | MNS 13C TR |  |  | x | x
3_3 | 01-26 | vol3_3 | /data/bioe3/C13_volunteer/b4608/birdcage_data/injection_2 | MNS 13C TR | FA = 10/40/40
3_4 | 01-29 | vol3_4 | /data/bioe3/C13_volunteer/b4608/24ch_10172019 | RAPID 24CH | marked as "definitely don't include", FA=10/40/40
4_1 | 01-11 |  | /data/vig4/C13Volunteers/01-11 | 13C-32CH-Head | res = 15/15/20, extra met, missed pyr rise, I think this my be SOS recon |  | I think, need to confirm, optimal weights recon? | x | G1
5_1 | 01-16 |  | /data/vig4/C13Volunteers/01-16 (1st) | 13C-32CH-Head | multi res w Ramp, res=7.5/7.5/20, extra met |  | I think, need to confirm, tp_1_20?
5_2 | 01-16 |  | /data/vig4/C13Volunteers/01-16 (2nd) | 13C-32CH-Head | multi res w/o Ramp, res=7.5/7.5/15, extra met |  | x, pyrsos_ims | x, needs crop(32x32?), pyrsos_ims, check met order
5_3 | 01-23 |  | /data/vig4/C13Volunteers/01-23 | 13C-32CH-Head | multi res, res=5/5/20 |  | x, pyrsos_ims | x, needs crop(64x64), pyrsos_ims
5_4 | 01-44 |  | /data/vig4/C13Volunteers/01-44 | RAPID 24CH | multi res, res=7.5/7.5/15 | 0 sec acq delay | I think, need to confirm, 3 versions | x, used shifted | G2: 9 | 113.79 | 30.43 | 13.95
6_1 | 01-30 |  | /data/vig4/C13Volunteers/01-30 (2nd) | RAPID 24CH | multi res, res=7.5/7.5/20 |  | x, cant find 1st shot data | x | G2: 10 | 226.92 | 66.04 | 27.32
6_3 | 01-31 |  | /data/vig4/C13Volunteers/01-31 | MNS 13C TR | 23 tpts, captured more pyr rise |  | x, 2023 vs normal version | x, 2023 version
6_4 | 01-32 |  | /data/vig4/C13Volunteers/01-32 (1st) | MNS 13C TR | missed pyr rise |  | no mat file.. Hold off for now
6_5 | 01-32 |  | /data/vig4/C13_volunteers/01-32 (2nd) | MNS 13C TR | FA = 10/40/40
7_1 | 01-33 |  | /data/vig4/C13_volunteers/01-33 (1st) | MNS 13C TR | coil broken, FA=10/40/40
7_2 | 01-33 |  | /data/vig4/C13Volunteers/01-33 (2nd) | RAPID 24CH | multi res, res=7.5/7.5/15 |  | 4 versions | x, used nn | G2: 11 | 376.63 | 51.97 | 23.17
7_3 | 01-39 |  | /data/vig4/C13_volunteers/01-39 | MNS 13C TR | FA = 10/40/40
8_1 | 01-34 |  | /data/vig4/C13Volunteers/01-34 | RAPID 24CH | multi res, res=7.5/7.5/15 |  | 2 versions | x, used nn | G2: 12 | 210.5 | 47.98 | 25.14
8_2 | 01-35 |  | /data/vig4/C13_volunteers/01-35 | MNS 13C TR | FA = 10/40/40
9_1 | 01-53 |  | /data/vig4/C13_volunteers/01-53 | ? | multi res, res=?
9_2 | 01-53 |  | /data/vig4/C13_volunteers/01-53 | ? | ?
10_1 | 01-59 |  | /data/vig4/C13Volunteers/01-59-SA-20230719 | RAPID 24CH | multi res, res=7/14/14 | 0 sec acq delay | x | x | G2:13 | 113.56 | 37.74 | 22.96
10_2 | 01-59 |  | /data/vig4/C13Volunteers/01-59-SA-20230719 | RAPID 24CH | multi res, res=6/12/18 | 0 sec acq delay | x | x | G2: 14 | 83.55 | 19.18 | 13.75
10_3 | 01-59 |  | /data/vig4/C13Volunteers/01-59-SA-20230919 | RAPID 24CH | multi res, res=6.5/13/13 | 0 sec acq delay | x | x | G2: 15 | 281.25 | 50.36 | 21.79
10_4 | 01-59 |  | /data/vig4/C13Volunteers/01-59-SA-20230919 | RAPID 24CH | multi res, res=6/12/12 | 0 sec acq delay | x | x, very low SNR |  | 22.62 | 7.52 | 7.68
10_5 | 01-59 |  | /data/vig4/C13Volunteers/01-59-SA-20231030 | RAPID 24CH | multi res, res=7/14/14 | 0 sec acq delay | x | x | G2: 16 | 275.49 | 57.56 | 36.22
10_6 | 01-59 |  | /data/vig4/C13Volunteers/01-59-SA-20231030 | RAPID 24CH | multi res, res=7/14/14 | 0 sec acq delay | x | x | G2: 17 | 257.02 | 52.61 | 35.06
10_7 | 01-19 |  | /data/vig4/C13_MultiRes_BrainVolunteers/01-19-SA-20240229 | RAPID 24CH | multi res, res=7/14/14, new spsp pulse, new scanner, extra slice | 0 sec acq delay | x | x | G2: 18 | 120.21 | 56.29 | 34.74
10_8 | 01-19 |  | /data/vig4/C13_MultiRes_BrainVolunteers/01-19-SA-20240306 | RAPID 24CH | multi res, res=7/14/14, partial fourier acq, new spsp pulse, new scanner | 0 sec acq delay | x, 2 versions
10_9 | 01-19 |  | /data/vig4/C13_MultiRes_BrainVolunteers/01-19-SA-20240306 | RAPID 24CH | multi res, res=7/14/14, fully sampled, new spsp pulse, new scanner, extra slice | 0 sec acq delay | 2 versions | x, used prewhiten reg | G2: 19 | 105.4 | 36.23 | 26.18
11_1 | 01-60 |  | /data/vig4/C13Volunteers/01-60-HC-20231013 | RAPID 24CH | multi res, res=7/14/14 | 0 sec acq delay | x, only one version | x, very low SNR |  | 21.53 | 22.38 | 9.48
11_2 | 01-60 |  | /data/vig4/C13Volunteers/01-60-HC-20231018 | RAPID 24CH | multi res, res=7/14/14 | 0 sec acq delay | x | x | G2: 20 | 282.89 | 64.35 | 38.61
11_3 | 01-60 |  | /data/vig4/C13Volunteers/01-60-HC-20231018 | RAPID 24CH | multi res, res=7/14/14 | 0 sec acq delay | x | x | G2:21 | 204.36 | 76.14 | 31.5
| non multi res | [7 empty] | avg | 196.2424 | 44.0564 | 22.162
[9 empty] | min | 21.53 | 7.52 | 7.68
| multi res | [7 empty] | max | 376.63 | 76.14 | 38.61
[9 empty] | min ignore bad ones | 83.55 | 19.18 | 12.02
FA = 10/40/40
missing info
phased_data_2023 vs phased_data vs phased_data_dev
confusing labeling of multi res
difference in coils
optimal weights = refpeak
no ramp vs ramp sample -- ignore ramp samples ones for now
tp_1_20? Tiempoints 1-20?
prewhiten_nn ?
PF = partial fourier
FS = fully sampled
double check order for 4 metabolits: bic then ala or ala then bic?
3 with missing information

## Parameters
Base Parameters
Flip Angle | 20/30/30
Spatial Res (mm3) | 15 x 15 x 15
Acquisition | bbEPI
Acq delay | 5s?
vol1 | DX
vol2 | DV
vol3 | YL
vol4 | RS
vol5 | PL
vol6 | NB
vol7 | CL
vol8 | EH
vol9 | FG
vol10 | SA
vol11 | HC